Step 19 Report

Build the preprocessing and feature pipelines

Environment: Claude Code (this chat)   |   Completed: 11 October 2026   |   Report version 1 (11 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: The machine-learning models are now ready to be trained. 24 pipelines were built - four feature sets times six models - and 24 of 24 run correctly. Every step that learns from data (filling in missing values, scaling, class weights) is proven by automated tests to use only the training records, so later scores cannot be inflated by leakage. Two technical problems were fixed before any training. No performance score was computed in this step, by design.

# 1. Purpose of this step

Before the models are trained and compared (Step 20), the way the data are turned into model inputs must be fixed, written down and tested. This step builds those 'pipelines' exactly as the approved Analysis Plan describes, and proves that they cannot leak information from the records they are tested on.

# 2. Method used

## Approach

Each machine-learning model is wrapped in a scikit-learn pipeline: a fixed chain of steps that always runs in the same order and is always fitted as one unit. The chain is: (1) build the features of the chosen feature set from the five gases; (2) fill in undefined values with the training-fold median; (3) standardise every feature with the training-fold mean and standard deviation; (4) fit the classifier with class weights computed from the training-fold labels.

Because the whole chain is refitted on every training fold, nothing learned from the data - medians, means, standard deviations or class weights - can come from a held-out record. Step 1 learns nothing at all: each record's features are calculated from its own gases only.

Four feature sets (Analysis Plan Section 5.1) and six models (Section 5.2: majority baseline, SVM, Random Forest, XGBoost, MLP, logistic regression) give 24 pipelines. Each was run once on the training part of one fold to prove it works; no score is computed in this step.

## Why this method

•  Fitting preprocessing on all the data before splitting is a common form of leakage that makes cross-validation scores too optimistic; putting every learned step inside the pipeline is the standard remedy, and it is required by the roadmap check for Step 19.

•  Logarithms tame the very skewed gas concentrations; percentages and ratios give fingerprints that do not depend on the total amount of gas; standardisation puts all features on the same scale, which the SVM, the neural network and logistic regression need.

•  Class weights make every fault class count equally even though the development classes range from 37 (PD) to 85 (D2) records.

## Settings and rules

| Setting | Value |
| --- | --- |
| F1 - log gases (5) | log10(x + 1) for H2, CH4, C2H6, C2H4, C2H2 (Eq. 11) |
| F2 - gas percentages (5) | 100 x_g / sum of the five gases (Eq. 12) |
| F3 - ratios and Duval (8) | log10((a+1)/(b+1)) for R1-R5 (D15) + the three Duval Triangle 1 percentages (Eq. 4) |
| F4 - all (18) | F1 + F2 + F3 |
| Imputation | median of the training fold - only the Duval percentages of 2 development records are undefined (D15) |
| Scaling | z = (x - mean) / sd from the training fold (Eq. 13) |
| Class weights | w_c = N / (K n_c) from the training-fold labels, passed as sample weights (Eq. 14, D15); baseline not weighted |
| Oversampling | none - SMOTE was not approved (D15) |
| SVM | RBF kernel; probabilities by Platt (sigmoid) calibration on 5 internal folds (D16) |
| Neural network (MLP) | L-BFGS solver, up to 5 000 iterations (D16) |
| Random seed | 20261010 (same as folds.csv) |

## Equations

xg=log10xg+1#1

where:

xg  –  log-transformed concentration of gas g (Analysis Plan Eq. 11)

xg  –  concentration of gas g [ppm]; not detected = 0 ppm (D8)

rk=log10xa+1xb+1#2

where:

rk  –  log-ratio feature k (k = R1 ... R5), decision D15

xa, xb  –  numerator and denominator gases of ratio k [ppm], e.g. R2 = C2H2/C2H4

wc=NK⋅nc#3

where:

wc  –  weight of every training record of class c (Analysis Plan Eq. 14)

N  –  number of records in the training fold

K  –  number of classes in the training fold (7)

nc  –  number of training-fold records of class c

## Tools and programs

•  06_Python_ML/src/ml/features.py (FeatureBuilder), pipelines.py (pipelines, class weights, PlattSVC), step19_build_pipelines.py (catalogue); configs/ml_config.yaml

•  scikit-learn 1.9.1, xgboost 3.4.1, numpy 2.5.3, pandas 3.0.6; tests/test_pipelines.py (pytest 9.1.1, 31 tests)

## Method references

[M3] F. Pedregosa et al., "Scikit-learn: Machine Learning in Python," Journal of Machine Learning Research, vol. 12, pp. 2825-2830, 2011. https://jmlr.org/papers/v12/pedregosa11a.html

[M10] T. Chen and C. Guestrin, "XGBoost: A Scalable Tree Boosting System," in Proc. 22nd ACM SIGKDD Int. Conf. Knowledge Discovery and Data Mining (KDD '16), pp. 785-794, 2016. doi: 10.1145/2939672.2939785

[M11] J. C. Platt, "Probabilistic outputs for support vector machines and comparisons to regularized likelihood methods," in Advances in Large Margin Classifiers, A. Smola, P. Bartlett, B. Schoelkopf and D. Schuurmans, Eds. Cambridge, MA: MIT Press, 1999, pp. 61-74.

[M12] D. C. Liu and J. Nocedal, "On the limited memory BFGS method for large scale optimization," Mathematical Programming, vol. 45, pp. 503-528, 1989. doi: 10.1007/BF01589116

# 3. What was done, step by step

1.  Wrote all settings - feature sets, preprocessing, models and their search grids - into one configuration file, configs/ml_config.yaml, each value traced to the Analysis Plan or a decision.

2.  Found two gaps in the plan when looking at the data: zeros in gas ratios (C2H2 is 0 ppm in 300 of 827 records) and undefined Duval percentages for 2 records. Proposed rules; the researcher approved them as decision D15.

3.  Programmed the feature builder (features.py) and the pipelines (pipelines.py), including a wrapper that computes the class weights from the training labels inside every fit.

4.  Ran every pipeline once on the training part of repeat 1, fold 1 and checked the predictions and probabilities. The first run showed warnings from the SVM and the neural network; both were fixed (decision D16) and the run repeated without any warning.

5.  Wrote automated tests: the feature formulas on a hand-calculated example, the class-weight formula, the leakage tests, and a test that each of the 24 pipelines fits and predicts.

# 4. What we found

## Features in each set

| Set | Number | Features |
| --- | --- | --- |
| F1 | 5 | log_H2, log_CH4, log_C2H6, log_C2H4, log_C2H2 |
| F2 | 5 | pct_H2, pct_CH4, pct_C2H6, pct_C2H4, pct_C2H2 |
| F3 | 8 | log_R1, log_R2, log_R3, log_R4, log_R5, duval_pct_CH4, duval_pct_C2H4, duval_pct_C2H2 |
| F4 | 18 | log_H2, log_CH4, log_C2H6, log_C2H4, log_C2H2, pct_H2, pct_CH4, pct_C2H6, pct_C2H4, pct_C2H2, log_R1, log_R2, log_R3, log_R4, log_R5, duval_pct_CH4, duval_pct_C2H4, duval_pct_C2H2 |

## Working check of the 24 pipelines (repeat 1, fold 1)

| Set | Model | Class weights | Grid size | Runs | Probabilities sum to 1 | Warnings |
| --- | --- | --- | --- | --- | --- | --- |
| F1 | majority | False | 1 | yes | True | 0 |
| F1 | svm | True | 20 | yes | True | 0 |
| F1 | random_forest | True | 9 | yes | True | 0 |
| F1 | xgboost | True | 18 | yes | True | 0 |
| F1 | mlp | True | 9 | yes | True | 0 |
| F1 | logistic_regression | True | 3 | yes | True | 0 |
| F2 | majority | False | 1 | yes | True | 0 |
| F2 | svm | True | 20 | yes | True | 0 |
| F2 | random_forest | True | 9 | yes | True | 0 |
| F2 | xgboost | True | 18 | yes | True | 0 |
| F2 | mlp | True | 9 | yes | True | 0 |
| F2 | logistic_regression | True | 3 | yes | True | 0 |
| F3 | majority | False | 1 | yes | True | 0 |
| F3 | svm | True | 20 | yes | True | 0 |
| F3 | random_forest | True | 9 | yes | True | 0 |
| F3 | xgboost | True | 18 | yes | True | 0 |
| F3 | mlp | True | 9 | yes | True | 0 |
| F3 | logistic_regression | True | 3 | yes | True | 0 |
| F4 | majority | False | 1 | yes | True | 0 |
| F4 | svm | True | 20 | yes | True | 0 |
| F4 | random_forest | True | 9 | yes | True | 0 |
| F4 | xgboost | True | 18 | yes | True | 0 |
| F4 | mlp | True | 9 | yes | True | 0 |
| F4 | logistic_regression | True | 3 | yes | True | 0 |

All 24 pipelines fit, predict only classes seen in training, give finite features after imputation and probabilities that sum to 1; the final run produced 0 warnings. 'Grid size' is the number of setting combinations that Step 20 will search for each model. No accuracy or F1 value was computed here, so that model choice cannot be influenced before the planned nested cross-validation.

# 5. Checks

| Check | Result |
| --- | --- |
| Data version 1.0 unchanged (SHA-256 manifest) | PASS |
| folds.csv and the master table give each record the same class | PASS |
| Feature formulas reproduce a hand-calculated example | PASS |
| Class weights follow Eq. 14 and give every class the same total weight | PASS |
| Imputer and scaler fitted on exactly the training rows of the fold | PASS |
| Class weights computed from the training labels only | PASS |
| Inside the tuning search, the scaler is refitted on each inner training part only | PASS |
| All 24 pipelines run and give valid probabilities | 24 of 24 - PASS |
| SVM: predicted class = most probable class | PASS |
| Automated test suite (pytest) | 87 of 87 PASS (31 new) |

# 6. Problems and fixes

•  The fold file (folds.csv) also contains the class code, so joining it to the master table first produced two class columns. The program now joins only the fold columns and checks that both files give every record the same class.

•  scikit-learn 1.9.1 warned that SVC(probability=True), the usual way to get SVM probabilities, is deprecated and will be removed. It was replaced by the method scikit-learn recommends, which is the same Platt calibration (decision D16).

•  The neural network's default optimiser (Adam) did not finish converging within 2 000 iterations. The L-BFGS optimiser, which the scikit-learn documentation recommends for small data sets, converged in all 144 test fits (decision D16).

# 7. Decisions

•  D15 (researcher, 11 October 2026): log-ratios with a +1 ppm offset; undefined Duval percentages filled with the training-fold median; class weights recomputed in every training fold for all models; no oversampling.

•  D16 (procedural, within the approved plan): SVM probabilities by Platt calibration through CalibratedClassifierCV; MLP fitted with L-BFGS. The approved models and search grids are unchanged.

# 8. Files produced

•  06_Python_ML/configs/ml_config.yaml (all settings) and configs/pipeline_catalog.csv (the 24 pipelines)

•  06_Python_ML/src/ml/features.py, pipelines.py, step19_build_pipelines.py; 03_Data/interim/step19_report.md

•  06_Python_ML/tests/test_pipelines.py (31 tests, including the leakage tests)

# 9. What was achieved

•  24 ready-to-train pipelines (4 feature sets x 6 models), all settings read from one configuration file (configs/ml_config.yaml).

•  Every learned step - imputation, scaling and class weights - is proven by automated tests to use the training rows only, both in a single fold and inside the inner folds of the tuning search.

•  Two technical problems were found and solved before any training: the SVM probability method that scikit-learn is removing, and the neural network that did not converge (decision D16).

•  31 new automated tests; the whole suite passes 87 of 87.

# 10. Record of this step

| Item | Record |
| --- | --- |
| Step | 19 - Build the preprocessing and feature pipelines |
| Environment | Claude Code (this chat) |
| Completed | 11 October 2026 |
| Status | Done |
| Main inputs | dga_master.csv and folds.csv (data version 1.0); Analysis Plan Sections 5.1-5.4 |
| Main outputs | 06_Python_ML/src/ml (features.py, pipelines.py, step19_build_pipelines.py); configs/ml_config.yaml; configs/pipeline_catalog.csv; step19_report.md |
| Checks | 24 of 24 pipelines run; leakage tests PASS; pytest 87 of 87 |
| Decisions | D15 (features, imputation, class weights; researcher) and D16 (SVM calibration, MLP solver; procedural) |

# 11. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| DF2 | Made in Step 9 from DS1-DS5 (Steps 5-9 programs). Use: All clean records with role, class, flags and original values. | File: 03_Data/processed/dga_master.csv; SHA-256 AE9E6C0C84CF7180... |
| DF3 | Made in Step 10 from DF2. Use: Fold number of every training record in each of 10 repeats. | File: 03_Data/processed/folds.csv; SHA-256 0CE7D9AF3C7CE9F6... |
| DF6 | Made in Step 13 from all frozen files. Use: SHA-256 of every frozen file; checked by verify_data_version() before every later step. | File: 03_Data/data_version_1.0.sha256; SHA-256 260EBE0C8921E52C... |
| DF18 | Written in Step 19 from the Analysis Plan (Sections 5.1-5.4) and decisions D6, D15, D16. Use: Feature sets, preprocessing, models and search grids used in Steps 19-24. | File: 06_Python_ML/configs/ml_config.yaml; SHA-256 C78C864AEC6751F8... |
| DF19 | Made in Step 19 from DF2, DF3 and DF18. Use: The 24 pipelines (4 feature sets x 6 models) with their features and working-check results; no performance scores. | File: 06_Python_ML/configs/pipeline_catalog.csv; SHA-256 B010221747651D64... |
| DF20 | Written in Step 19. Use: Feature builder (F1-F4), imputation, scaling, class weights and the six classifiers. | File: 06_Python_ML/src/ml/pipelines.py; SHA-256 8A7131A059C7BDED... |
| SW1 | Python 3.12.10 with 55 pinned packages (06_Python_ML/requirements.txt). Use: Runs every data-preparation, statistics and checking program. | https://www.python.org/downloads/release/python-31210/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |

# 12. How this helps the next steps

Next step: Step 20: train and tune the classifiers with nested cross-validation - the inner loop chooses the settings by macro-F1, the outer loop measures performance on the 50 fixed folds - and save every run with its configuration and seed.

•  Step 20 trains and tunes these exact pipelines with nested cross-validation on the 50 fixed folds; nothing about the models has to be decided any more.

•  Because the pipelines are leakage-proof by construction, the cross-validation scores of Step 20 will be honest estimates.

•  The same pipeline object is what Step 24 saves and what the diagnosis service (Step 38) loads, so the features are computed identically everywhere.

# 13. Open items and limitations

•  No performance has been measured yet (by design); Step 20 does that.

•  The models assume the gas values are in ppm; the external Li 2019 data state no units (TO VERIFY, see the register).

# 14. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| H2 | hydrogen | Gas formed mainly by partial discharges (low-energy electrical activity) in the oil. |
| CH4 | methane | Hydrocarbon gas formed when oil is overheated, mainly at the lower fault temperatures. |
| C2H6 | ethane | Hydrocarbon gas formed when oil is overheated, mainly at the lower fault temperatures. |
| C2H4 | ethylene | Hydrocarbon gas favoured above about 500 °C; it rises as thermal faults get hotter. |
| C2H2 | acetylene | Gas that needs at least 800 to 1 200 °C; formed in significant amounts mainly in electrical arcs. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| D2 | discharges of high energy | Arcing with power follow-through: extensive carbonisation, metal fusion, sometimes tripping of the equipment. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| Duval Triangle 1 | graphical DGA method by M. Duval | The shares of CH4, C2H4 and C2H2 are plotted as one point in a triangle divided into fault zones. |
| ML | machine learning | Computer methods that learn the link between gas values and fault type from labelled examples. |
| SVM | support vector machine | A classifier that separates classes with the widest possible boundary. |
| Random Forest | random forest | Many decision trees, each trained on a random sample; they vote for the answer. |
| XGBoost | extreme gradient boosting | Decision trees built one after another, each correcting the errors of the previous ones. |
| MLP | multilayer perceptron | A small artificial neural network with layers of connected units. |
| Logistic regression | multinomial logistic regression | A simple, explainable model that turns weighted gas values into class probabilities. |
| Training (development) set | records used to build the models | 439 clean records from the Dissanayake training file. |
| Leakage | test cases hidden in the training data | If a model has already seen a test case, its score is falsely high. |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| Cross-validation | repeated train-and-test on parts of the training data | The data are split into parts; each part is used once for testing while the others train the model. |
| Fold | one part of the cross-validation split | Here the training data are cut into 5 folds (parts). |
| Random seed | starting number for the random shuffle | Recording it means the same split can be made again exactly (seed 20261010). |
| Median, quartiles | middle value and the values a quarter and three quarters of the way up | Describe typical gas levels without being pulled by extreme values. |
| CSV | comma-separated values | A plain-text table file that any program can read. |
| docx | Microsoft Word document | The format of these reports. |
| Python | programming language | Used for data preparation, machine learning and statistics (Claude Code). |
| pytest | Python testing tool | Runs the automated checks that prove the data rules hold. |
| D1-D16 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| Analysis Plan | Expected Results and Analysis Plan | The approved document that fixes the measures, tests, tables and figures before results are seen. |
| TO VERIFY | not yet checked against the original source | Marks any value or fact that must still be confirmed before final use. |
| R1, R2, R5 | Rogers gas ratios | R1 = CH4/H2, R2 = C2H2/C2H4, R5 = C2H4/C2H6; the three ratios the Rogers method compares with its table. |
| Pipeline | chain of processing steps and a model | Feature building, imputation, scaling and the classifier joined so that they are always fitted together on the same training rows. |
| Feature set (F1-F4) | the inputs given to a model | F1 log gases, F2 gas percentages, F3 log-ratios and Duval percentages, F4 all of them (Analysis Plan 5.1). |
| Log-ratio | logarithm of a gas ratio | log10((a+1)/(b+1)); the +1 ppm keeps the value defined when a gas is not detected (decision D15). |
| Imputation | filling in an undefined value | An undefined Duval percentage is replaced by the median of the training fold (decision D15). |
| Standardisation (z-score) | rescaling a feature | Subtract the training-fold mean and divide by the training-fold standard deviation (Analysis Plan Eq. 13). |
| Class weight | importance given to each record in training | w_c = N/(K n_c): rare classes get more weight so that every class counts equally (Analysis Plan Eq. 14). |
| Oversampling (SMOTE) | creating extra synthetic records of rare classes | Not used in this thesis: it was never approved (decision D15). |
| Nested cross-validation | cross-validation inside cross-validation | The inner loop chooses the settings, the outer loop measures performance on data the tuning never saw. |
| Hyperparameter grid | list of settings tried for a model | For example C and gamma of the SVM; the best combination is chosen in the inner loop (Analysis Plan 5.2). |
| Macro-F1 | average F1 score over the classes | The primary performance measure; every class counts equally however rare it is. |
| Platt scaling (calibration) | turning SVM scores into probabilities | A sigmoid curve fitted on internal cross-validation scores gives class probabilities (decision D16). |
| L-BFGS | limited-memory BFGS optimiser | The method that fits the neural network's weights; it converges reliably on small data sets (decision D16). |
| Adam | adaptive moment estimation optimiser | The default neural-network optimiser in scikit-learn; it did not converge here and was replaced by L-BFGS. |