Step 24 Report

Save the versioned model

Environment: Claude Code (this chat)   |   Completed: 12 October 2026   |   Report version 1 (12 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: The final model is saved as dga_model_v1.joblib - preprocessing and Random Forest in one file - with its SHA-256 fingerprint, a metadata file and a model card. Reloaded in a fresh Python process, it reproduced all 388 test predictions exactly (same classes; largest probability difference 0.0). A damaged or changed file is refused. This completes the machine-learning stage (Steps 19-24).

# 1. Purpose of this step

This step turns the evaluated model into a fixed, documented release that the comparison steps, the dashboard and any reader can use - and proves that the saved file is exactly the model whose results are reported.

# 2. Method used

## Approach

The pipeline fitted in Step 22 (preprocessing and Random Forest together) was copied byte for byte into the project's model folder as version 1, not fitted again, so every result of Steps 22 and 23 belongs to exactly this file. Its SHA-256 fingerprint is stored beside it.

The file is loaded only through a small loader (model_io.load_model) that refuses any file whose fingerprint differs from the recorded one.

To prove the file is complete, it was reloaded in a fresh Python process and used to predict the 388 test records again; the classes and every class probability had to be identical to the Step 22 predictions. A model card (Mitchell et al., 2019) was generated from the saved result files.

## Why this method

•  A versioned, fingerprinted model file lets anyone - the examiners, a utility, or the dashboard of Steps 38 onwards - use exactly the model whose performance is reported.

•  Copying instead of refitting avoids any chance that a new fit differs slightly from the evaluated one.

•  A model card states in one place what the model is for, what it is not for, and its known limits - expected in responsible engineering use of machine learning.

## Settings and rules

| Setting | Value |
| --- | --- |
| Model file | 06_Python_ML/models/dga_model_v1.joblib; SHA-256 1C46D10391429385... |
| Content | feature builder (F4, 18 features) -> median imputation -> standard scaling -> Random Forest (500 trees, class weights) |
| Software needed | Python 3.12.10, scikit-learn 1.9.1, project modules features.py and pipelines.py |
| Reload check | fresh Python process; 388 test records; classes and probabilities compared with ml_predictions.csv |
| Model card | 06_Python_ML/models/model_card.md, generated from the result files of Steps 20-23 |

## Tools and programs

•  06_Python_ML/src/ml/step24_save_model.py (copy, fingerprint, reload check, model card)

•  06_Python_ML/src/ml/model_io.py (load_model with fingerprint check); tests/test_model_v1.py (3 tests)

## Method references

[M19] M. Mitchell, S. Wu, A. Zaldivar, P. Barnes, L. Vasserman, B. Hutchinson, E. Spitzer, I. D. Raji and T. Gebru, "Model cards for model reporting," in Proc. Conf. Fairness, Accountability, and Transparency (FAT* '19), Atlanta, GA, USA: ACM, 2019, pp. 220-229. doi: 10.1145/3287560.3287596

# 3. What was done, step by step

1.  Recorded the procedure as decision D21 (copy, do not refit; load only with a fingerprint check; reload check in a fresh process; generated model card).

2.  Wrote model_io.py (loader with fingerprint check) and step24_save_model.py (copy, fingerprint, metadata, reload check, model card).

3.  Ran the step and added three automated tests: the fingerprint equals the Step 22 fit, reloading reproduces the Step 22 predictions, and a tampered file is refused.

# 4. What we found

## The released model

| Item | Value |
| --- | --- |
| File | 06_Python_ML/models/dga_model_v1.joblib |
| SHA-256 | 1C46D10391429385D7A35DDD7C6B8AC560C7285980752AB938A1FA42B7809523 |
| Same as the Step 22 fit | yes |
| Model | Random Forest on F4; max_depth = None, min_samples_leaf = 1 |
| Inputs | H2, CH4, C2H6, C2H4, C2H2 in ppm (ul/l); a gas not detected: enter 0 ppm (decision D8) |
| Outputs | one of Normal, PD, D1, D2, T1, T2, T3, with a probability for each |
| Data version / software | data 1.0; Python 3.12.10, scikit-learn 1.9.1 |

## Reload check

| Check | Result |
| --- | --- |
| Test records predicted again | 388 |
| Same predicted classes | yes |
| Largest difference in any class probability | 0.0 |
| Verdict | PASS |

## Model card

The model card (06_Python_ML/models/model_card.md) is generated by the program from the saved result files, so every number in it traces to a file. Its sections:

•  Model details

•  Intended use

•  Inputs and outputs

•  Training data

•  Performance (macro-F1 = mean F1 over classes)

•  What the model relies on (Step 23)

•  Limitations and cautions

•  Reproduction check

Key statements of the card: the model is decision support for mineral-oil power transformers, not a replacement for an engineer, the IEC 60599 / IEEE C57.104 procedures, gas-rate trending or inspection; it always gives an answer and has no warning for unusual samples; its performance falls on data from other sources.

# 5. Checks

| Check | Result |
| --- | --- |
| Data version 1.0 unchanged (SHA-256 manifest) | PASS |
| Fingerprint of the released file equals the Step 22 fit | PASS |
| Reload in a fresh process reproduces all test predictions exactly | PASS |
| Changed file refused by the loader (automated test) | PASS |
| Full automated test suite | 94 of 94 pass |

# 6. Problems and fixes

•  None.

# 7. Decisions

•  D21 (procedural, within the approved plan): byte copy of the Step 22 fit; loading only through model_io.load_model() with fingerprint check; reload check in a fresh Python process; model card generated from the result files.

# 8. Files produced

•  06_Python_ML/models/: dga_model_v1.joblib, dga_model_v1.sha256, dga_model_v1_meta.json, model_card.md, reload_check.json

•  06_Python_ML/src/ml/model_io.py, step24_save_model.py; 06_Python_ML/tests/test_model_v1.py; 03_Data/interim/step24_report.md

# 9. What was achieved

•  The released model dga_model_v1 is saved with its fingerprint, metadata and model card.

•  Reloading it reproduced all 388 test predictions exactly (largest probability difference 0.0).

•  A changed or damaged model file is refused automatically (tested).

•  Stage D (machine learning, Steps 19-24) is complete.

# 10. Record of this step

| Item | Record |
| --- | --- |
| Step | 24 - Save the versioned model |
| Environment | Claude Code (this chat) |
| Completed | 12 October 2026 |
| Status | Done |
| Main inputs | 07_Experiments/2026-10-12_final_fit/final_pipeline.joblib and final_fit.json; results of Steps 20-23 |
| Main outputs | 06_Python_ML/models/: dga_model_v1.joblib, .sha256, _meta.json, model_card.md, reload_check.json |
| Checks | reload check PASS; fingerprint equals Step 22; tamper test passes; 94 of 94 tests pass |
| Decisions | D21 (versioning and loading; procedural) |

# 11. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| DF24 | Produced in Step 22 by step22_final_fit.py: Random Forest on F4 tuned and fitted on all 439 development records (decision D19). Use: The fitted model used for every test prediction; saved before any test record was predicted. | File: 07_Experiments/2026-10-12_final_fit/final_pipeline.joblib; SHA-256 1C46D10391429385... |
| DF25 | Produced in Step 22 by step22_final_fit.py with DF24; test sets predicted once (see test_set_access.log). Use: Predicted class and class probabilities for every internal-test, IEC TC 10 and Li 2019 record. | File: 11_Results/ml/ml_predictions.csv; SHA-256 D103E8CA1B21C49A... |
| DF26 | Produced in Step 23 by step23_explain.py from DF24 (decision D20). Use: Mean absolute SHAP value per class and feature; permutation importance at gas and feature level; engineering check. | File: 11_Results/explain/shap_importance.csv; SHA-256 90A0706BD3BCEB9D... |
| DF27 | Produced in Step 24 by step24_save_model.py: byte-for-byte copy of DF24 (decision D21). Use: The released model: loaded through model_io.load_model(); reproduces ml_predictions.csv exactly. | File: 06_Python_ML/models/dga_model_v1.joblib; SHA-256 1C46D10391429385... |
| DF22 | Produced in Step 20 by step20_summarize.py from DF21. Use: Mean and SD over 50 outer folds of macro-F1 and secondary measures, per-class F1, average rank. | File: 11_Results/tables/T4_4_cv_results.csv; SHA-256 B7D7454BDE778667... |
| SW1 | Python 3.12.10 with 55 pinned packages (06_Python_ML/requirements.txt). Use: Runs every data-preparation, statistics and checking program. | https://www.python.org/downloads/release/python-31210/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |

# 12. How this helps the next steps

Next step: Stage E - Step 25: retrain the same pipeline on every subset of the five gases (31 subsets) with the identical folds, to find how few gases still give a reliable diagnosis.

•  Steps 28-32 use the predictions of this exact model for the formal comparison with the conventional methods.

•  The dashboard and API (Steps 38 onwards) load this file through model_io.load_model(), so the deployed model is provably the evaluated one.

•  The model card is ready to be summarised in Chapter 3 and in the journal paper.

# 13. Open items and limitations

•  The file can only be loaded with the same library versions and project modules; a future version of scikit-learn may need the model to be re-saved and the reload check repeated.

•  The model always gives an answer; it does not warn when a sample is unlike the training data. An out-of-range warning could be added in the dashboard stage.

•  Mitchell et al. (2019): page range taken from secondary records, TO VERIFY (register M19).

# 14. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| H2 | hydrogen | Gas formed mainly by partial discharges (low-energy electrical activity) in the oil. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| IEC | International Electrotechnical Commission | The world body that publishes electrical standards, such as IEC 60599. |
| IEC 60599 | IEC guide to the interpretation of dissolved and free gas analysis | The international standard that defines the fault types and the IEC gas-ratio method. |
| IEC TC 10 | IEC Technical Committee 10 (fluids for electrotechnical applications) | The committee that wrote IEC 60599; its database of 117 inspected faulty units is this thesis's main benchmark. |
| IEEE | Institute of Electrical and Electronics Engineers | A professional body that publishes engineering standards and journals. |
| IEEE C57.104 | IEEE guide for the interpretation of gases generated in oil-immersed transformers | The IEEE standard that contains the Duval Triangle 1 (2019 edition) and the Rogers ratio table (2008 edition). |
| ML | machine learning | Computer methods that learn the link between gas values and fault type from labelled examples. |
| Random Forest | random forest | Many decision trees, each trained on a random sample; they vote for the answer. |
| SHAP | SHapley Additive exPlanations | Shows how much each gas pushed a model's decision towards or away from each fault. |
| Inspection-based label | fault confirmed by opening the equipment | The fault type was seen by engineers after the unit was opened, not guessed from the gases. |
| Training (development) set | records used to build the models | 439 clean records from the Dissanayake training file. |
| Not detected | gas below the laboratory's detection limit | Treated as 0 ppm in this thesis (decision D8). |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| Fold | one part of the cross-validation split | Here the training data are cut into 5 folds (parts). |
| Median, quartiles | middle value and the values a quarter and three quarters of the way up | Describe typical gas levels without being pulled by extreme values. |
| CSV | comma-separated values | A plain-text table file that any program can read. |
| docx | Microsoft Word document | The format of these reports. |
| Python | programming language | Used for data preparation, machine learning and statistics (Claude Code). |
| venv | virtual environment | A private copy of Python and its libraries that belongs to this project only. |
| pytest | Python testing tool | Runs the automated checks that prove the data rules hold. |
| D1-D18 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| Primary and secondary source | the original document and a document that quotes it | Values from a secondary source are marked TO VERIFY until checked against the primary source. |
| TO VERIFY | not yet checked against the original source | Marks any value or fact that must still be confirmed before final use. |
| Pipeline | chain of processing steps and a model | Feature building, imputation, scaling and the classifier joined so that they are always fitted together on the same training rows. |
| Feature set (F1-F4) | the inputs given to a model | F1 log gases, F2 gas percentages, F3 log-ratios and Duval percentages, F4 all of them (Analysis Plan 5.1). |
| Imputation | filling in an undefined value | An undefined Duval percentage is replaced by the median of the training fold (decision D15). |
| Class weight | importance given to each record in training | w_c = N/(K n_c): rare classes get more weight so that every class counts equally (Analysis Plan Eq. 14). |
| Macro-F1 | average F1 score over the classes | The primary performance measure; every class counts equally however rare it is. |
| SD | standard deviation | How much the 50 fold values spread around their mean; a small SD means the result is stable from fold to fold. |
| F1-score (per class) | harmonic mean of precision and recall | High only when the model both finds the records of a class and is rarely wrong when it names that class. |
| Average rank | mean position among the compared models | In every fold the models are ranked by macro-F1 (1 = best); the ranks are then averaged over the folds. |
| Class probability | model's confidence in each class | For every record the model gives a probability for each of the seven classes; they add up to 1 and the largest is the prediction. |
| joblib | Python file format for saved models | Stores the fitted pipeline (preprocessing and model together) so it can be reloaded and give exactly the same predictions. |
| Permutation importance | drop in score when one input is shuffled | The values of one input are mixed up at random across records; the bigger the drop in macro-F1, the more the model relies on that input (Analysis Plan Eq. 38). |
| Model card | short fact sheet of a model | States what the model is for and not for, its inputs, training data, measured performance and limitations (Mitchell et al., 2019). |