Step 28 Report

Merge all predictions

Environment: Claude Code (this chat)   |   Completed: 12 October 2026   |   Report version 1 (12 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: The true classes and the answers of the ML model and the three conventional methods for all 388 test records were joined into one file, one row per record. No record was lost or duplicated, and automated tests confirm that every value was copied unchanged. One point to note for Step 29: the normality gate calls 78 test records Normal, although most come from faulty units.

# 1. Purpose of this step

This step creates the single, checked data file from which every comparison between the ML model and the conventional methods (Steps 29-32) is computed.

# 2. Method used

## Approach

All predictions for the 388 test records were joined into one table, one row per record, using the record identifier: the true class and evaluation flags from the master table, the ML prediction and its seven class probabilities (Step 22), and for each conventional method (IEC 60599, Rogers, Duval; Steps 14-17) its raw answer, its answer after the upper normality gate (primary) and after the lower gate (sensitivity), and its distance to the nearest decision boundary.

Versions with T1 and T2 merged into one class were added for the IEC TC 10 scoring. No answer is scored in this step; the scoring rules are applied in Step 29.

## Why this method

•  Every later measure and statistical test (Steps 29-32) must use exactly the same records and answers; one merged file makes this certain and checkable.

•  Joining with strict one-to-one checks proves that no record was lost or counted twice - a common source of silent error in method comparisons.

## Settings and rules

| Setting | Value |
| --- | --- |
| Records | 388 test records: internal test 70, IEC TC 10 benchmark 117, Li 2019 201 |
| Join key | record_id; every join checked one-to-one |
| Conventional answers | raw; upper gate (primary, D11); lower gate (sensitivity); T1/T2-merged versions |
| ML answers | predicted class, merged class, probability of each of the seven classes |
| Columns | 51 columns; data version 1.0 |

## Tools and programs

•  06_Python_ML/src/stats/step28_merge_predictions.py (join and checks)

•  tests/test_merged_predictions.py (4 tests: one row per test record, values copied unchanged)

# 3. What was done, step by step

1.  Wrote step28_merge_predictions.py: one-to-one joins on record_id with built-in checks, and merged-class versions of every answer.

2.  Ran it and added four automated tests that compare the merged file with its three sources.

# 4. What we found

## Records per test set

| Test set | Records | Called Normal by the upper gate | Truly Normal |
| --- | --- | --- | --- |
| Internal test | 70 | 24 | 10 |
| IEC TC 10 benchmark | 117 | 10 | 0 |
| Li 2019 | 201 | 44 | 0 |

## Answers given by each method (all 388 test records)

| Answer | ML | IEC 60599 | Rogers | Duval |
| --- | --- | --- | --- | --- |
| Normal | 16 | 78 | 82 | 78 |
| PD | 37 | 14 | 5 | 29 |
| D1 | 72 | 43 | 0 | 65 |
| D2 | 137 | 30 | 97 | 115 |
| D1/D2 | 0 | 60 | 0 | 0 |
| T1 | 35 | 13 | 2 | 16 |
| T2 | 35 | 28 | 19 | 22 |
| T3 | 56 | 37 | 44 | 56 |
| DT | 0 | 0 | 0 | 7 |
| ND | 0 | 85 | 139 | 0 |

Conventional answers after the upper normality gate (decision D11). D1/D2 is the IEC dual answer, DT the Duval mixed zone, ND no diagnosis. The ML model always gives one of the seven classes. Rogers shows more Normal answers than the gate alone because its own Case 0 also means Normal.

# 5. Checks

| Check | Result |
| --- | --- |
| Data version 1.0 unchanged (SHA-256 manifest) | PASS |
| Every test record of the master table appears exactly once | PASS (388 rows, 388 unique) |
| Every ML prediction used; three conventional rows per record | PASS |
| No development record in the file | PASS |
| Normality gate identical for the three methods | PASS |
| Values copied unchanged (automated tests) | PASS - 109 of 109 tests pass |

# 6. Problems and fixes

•  None.

# 7. Decisions

•  None new. The scoring rules already fixed (D11-D13 for the conventional methods, D19 for the evaluation sets) are applied in Step 29.

# 8. Files produced

•  08_Statistical_Analysis/merged_predictions.csv (one row per test record) and merge_checks.json

•  06_Python_ML/src/stats/step28_merge_predictions.py; 06_Python_ML/tests/test_merged_predictions.py; 03_Data/interim/step28_report.md

# 9. What was achieved

•  All ML and conventional answers for the 388 test records are in one checked file.

•  No record was lost or duplicated, and every value was copied unchanged (automated tests).

# 10. Record of this step

| Item | Record |
| --- | --- |
| Step | 28 - Merge all predictions |
| Environment | Claude Code (this chat) |
| Completed | 12 October 2026 |
| Status | Done |
| Main inputs | dga_master.csv; 11_Results/conventional/conventional_predictions.csv; 11_Results/ml/ml_predictions.csv |
| Main outputs | 08_Statistical_Analysis/merged_predictions.csv and merge_checks.json |
| Checks | no record lost or duplicated; values unchanged; normality gate identical for all methods; 109 of 109 tests pass |
| Decisions | none new (scoring rules of D11-D13, D19 apply in Step 29) |

# 11. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| DF2 | Made in Step 9 from DS1-DS5 (Steps 5-9 programs). Use: All clean records with role, class, flags and original values. | File: 03_Data/processed/dga_master.csv; SHA-256 AE9E6C0C84CF7180... |
| DF9 | Made in Step 16 by run_conventional_batch.m on data version 1.0. Use: Input of the agreement analysis (Step 18 onwards) and of the boundary-distance test (RQ2). | File: 11_Results/conventional/conventional_predictions.csv; SHA-256 30DDD34EEF12AEF6... |
| DF25 | Produced in Step 22 by step22_final_fit.py with DF24; test sets predicted once (see test_set_access.log). Use: Predicted class and class probabilities for every internal-test, IEC TC 10 and Li 2019 record. | File: 11_Results/ml/ml_predictions.csv; SHA-256 D103E8CA1B21C49A... |
| DF34 | Produced in Step 28 by step28_merge_predictions.py from DF2, DF9 (conventional predictions) and DF25 (ML predictions). Use: True class, flags, ML prediction and probabilities, conventional answers (raw, upper gate, lower gate, merged classes), boundary distances. | File: 08_Statistical_Analysis/merged_predictions.csv; SHA-256 EDB799A2CDA41A69... |
| DF6 | Made in Step 13 from all frozen files. Use: SHA-256 of every frozen file; checked by verify_data_version() before every later step. | File: 03_Data/data_version_1.0.sha256; SHA-256 260EBE0C8921E52C... |
| SW1 | Python 3.12.10 with 55 pinned packages (06_Python_ML/requirements.txt). Use: Runs every data-preparation, statistics and checking program. | https://www.python.org/downloads/release/python-31210/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |

# 12. How this helps the next steps

Next step: Step 29: compute strict and conditional accuracy, coverage, per-class measures, macro-F1, balanced accuracy, kappa and MCC with Wilson and bootstrap 95 % confidence intervals for every method and test set (Tables 4.3-4.5, Figures 4.5 and 4.8).

•  Step 29 computes all performance measures with confidence intervals from this file only.

•  Step 30 runs the significance tests and Step 31 the boundary analysis on the same records.

# 13. Open items and limitations

•  The normality gate calls 78 of the 388 test records Normal, although most of them come from faulty units (the IEC TC 10 and Li 2019 sets contain only faults). This will lower the conventional methods' scores; Step 29 also reports them with the lower gate and without the gate (raw answers) so the effect is visible.

•  Decision D23 rule (4) (Step 26) is still awaiting the researcher's confirmation; it does not affect this file.

# 14. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| H2 | hydrogen | Gas formed mainly by partial discharges (low-energy electrical activity) in the oil. |
| Normal (class 0) | no fault | A transformer without a fault: its gases stay at the levels normally found in service. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| D2 | discharges of high energy | Arcing with power follow-through: extensive carbonisation, metal fusion, sometimes tripping of the equipment. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| T2 | thermal fault 300 to 700 °C | Overheating in which the paper has carbonised. |
| T3 | thermal fault above 700 °C | Very hot fault: carbonised oil, metal colouring (800 °C) or metal fusion (above 1 000 °C). |
| DT | mixture of thermal and electrical faults | A zone of the Duval Triangle 1 for cases that look partly thermal and partly electrical. |
| IEC | International Electrotechnical Commission | The world body that publishes electrical standards, such as IEC 60599. |
| IEC 60599 | IEC guide to the interpretation of dissolved and free gas analysis | The international standard that defines the fault types and the IEC gas-ratio method. |
| IEC TC 10 | IEC Technical Committee 10 (fluids for electrotechnical applications) | The committee that wrote IEC 60599; its database of 117 inspected faulty units is this thesis's main benchmark. |
| Rogers ratios | older gas-ratio method by R.R. Rogers | A ratio table that names faults from three gas ratios; kept in IEEE C57.104. |
| Normality gate | rule that lets conventional methods answer 'Normal' | If all gases are below their typical values, the conventional methods give Normal instead of a fault (decision D3). |
| ML | machine learning | Computer methods that learn the link between gas values and fault type from labelled examples. |
| Benchmark | fixed reference test set | The IEC TC 10 cases whose faults were confirmed by inspection; every method is scored on them. |
| Training (development) set | records used to build the models | 439 clean records from the Dissanayake training file. |
| Internal test set | Dissanayake unseen test file | 70 records (61 independent of the benchmark) kept away from training. |
| Primary and sensitivity analysis | main analysis and its repeat under another reasonable choice | The sensitivity analysis shows whether the conclusion changes when a choice is made differently. |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| CSV | comma-separated values | A plain-text table file that any program can read. |
| docx | Microsoft Word document | The format of these reports. |
| Python | programming language | Used for data preparation, machine learning and statistics (Claude Code). |
| venv | virtual environment | A private copy of Python and its libraries that belongs to this project only. |
| pytest | Python testing tool | Runs the automated checks that prove the data rules hold. |
| D1-D23 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| ND (no diagnosis) | No diagnosis | The answer of a method when no rule applies or a ratio it needs cannot be calculated. It is a result and is never deleted. |
| Dual answer (D1/D2) | Two classes returned together | Sometimes the IEC table fits two fault types at once. The method then answers with both (D1/D2); it counts as correct if the true class is either one. |
| Boundary distance | Distance to the nearest decision boundary | How far a sample is from the line where the diagnosis would change. A small distance means a small measurement error could change the diagnosis. |
| Rogers case | Rogers diagnosis code 0 to 5 | The Rogers table gives each combination of ratios a case number: 0 normal, 1 partial discharge, 2 arcing, 3 and 4 thermal below 700 degrees, 5 thermal above 700 degrees. |
| Feature set (F1-F4) | the inputs given to a model | F1 log gases, F2 gas percentages, F3 log-ratios and Duval percentages, F4 all of them (Analysis Plan 5.1). |
| Macro-F1 | average F1 score over the classes | The primary performance measure; every class counts equally however rare it is. |
| Balanced accuracy | mean of the per-class recalls | The share of each class that is found, averaged over the classes, so a rare class counts as much as a common one. |
| Kappa | Cohen's kappa | Agreement between predicted and true classes after removing the agreement expected by chance: 0 = chance, 1 = perfect. |
| MCC | Matthews correlation coefficient | One score from -1 to 1 that uses the whole confusion matrix; 0 means no better than guessing. |
| Class probability | model's confidence in each class | For every record the model gives a probability for each of the seven classes; they add up to 1 and the largest is the prediction. |
| Bootstrap (stratified percentile) | resampling to get a confidence interval | The records are drawn again at random, with replacement and within each fault class, 2000 times; the middle 95 % of the recomputed values is the 95 % interval (Analysis Plan Section 6.2). |