Step 31B Report

Build the pooled, deduplicated data set (Study 2)

Environment: Claude Code (this chat)   |   Completed: 12 October 2026   |   Report version 1 (12 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: The four sources were pooled exactly by the Study 2 protocol. 125 exact copies across sources were removed (mainly Li 2019's copies of IEC TC 10 cases), leaving 702 records, 643 of them in the primary scope. No near-copy links two different sources, so no training record has to be removed when a source is held out. One label conflict was found and logged. Data version 1.0 is unchanged.

# 1. Purpose of this step

This step prepares the single, clean data file from which every Study 2 model is trained and tested, so that no record or near-copy can appear on both sides of a leave-one-source-out split.

# 2. Method used

## Approach

The four data sources were pooled into one table by the rules fixed in the Study 2 protocol. Records that appear in more than one source with identical gas values were kept only once, in the source of highest priority (IEC TC 10, then Dissanayake training, Dissanayake unseen, Li 2019); every removed copy and any label conflict was logged.

Near-duplicate groups were then formed over all remaining records with exactly the Step 10 rule (the same program function), so that near-copies can be kept out of training whenever one of them is held out. T1 and T2 were merged into one class, and the conventional methods' raw answers, gate flags and boundary distances were attached as the hybrid model's inputs.

## Why this method

•  Without deduplication, Li 2019's copies of the IEC TC 10 cases would put the same transformer in both the training and the test part of a leave-one-source-out split, and the results would be too optimistic.

•  Reusing the Step 10 function guarantees the same near-duplicate definition as in the main study.

•  The priority order keeps the inspection-confirmed IEC TC 10 copy whenever there is a choice.

## Settings and rules

| Setting | Value |
| --- | --- |
| Priority for exact copies | IEC TC 10 > Dissanayake training > Dissanayake unseen > Li 2019 |
| Near-duplicate rule | every gas within 1 % or 1 ppm, linked transitively (step10_folds.near_groups) |
| Classes | Normal, PD, D1, D2, T1/T2 merged, T3 |
| Scope | IEC TC 10 power transformers (codes P, U) in the primary analysis; all 117 IEC TC 10 records kept with a flag for the sensitivity analysis |
| Hybrid inputs | raw answer of IEC 60599, Rogers, Duval; upper and lower gate flags; three boundary distances |

## Tools and programs

•  06_Python_ML/src/study2/step31b_pooled.py

•  tests/test_study2_pooled.py (5 tests: no copies, priority, Step 10 groups kept, scope and classes, hybrid inputs)

# 3. What was done, step by step

1.  Checked the protocol's fingerprint, then wrote step31b_pooled.py following its rules.

2.  Ran it; inspected the one label conflict and confirmed that the Step 10 near-duplicate groups are preserved inside the new groups.

3.  Added five automated tests and recorded the files in a SHA-256 manifest and the source register (DF41).

# 4. What we found

## Exact copies removed

| Copy removed from | Copy kept in | Records |
| --- | --- | --- |
| Li 2019 | IEC TC 10 (power transformers) | 115 |
| Dissanayake unseen | IEC TC 10 (power transformers) | 9 |
| Li 2019 | Dissanayake unseen | 1 |

Label conflicts: 1. LI2019_0158 (D1) duplicates DISTEST_0002 (PD); the kept copy's label is used.

## Records per source and class (primary scope)

| Source | Normal | PD | D1 | D2 | T1/T2 | T3 | All |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dissanayake unseen | 10 | 7 | 7 | 8 | 20 | 9 | 61 |
| Dissanayake training | 75 | 37 | 53 | 85 | 119 | 70 | 439 |
| IEC TC 10 (power transformers) | 0 | 1 | 10 | 27 | 8 | 12 | 58 |
| Li 2019 | 0 | 8 | 22 | 7 | 28 | 20 | 85 |
| All | 85 | 53 | 92 | 127 | 175 | 111 | 643 |

## Size of each leave-one-source-out split

| Held-out source | Test records | Training records | Removed near-copies | Training records used |
| --- | --- | --- | --- | --- |
| IEC TC 10 (power transformers) | 58 | 585 | 0 | 585 |
| Dissanayake training | 439 | 204 | 0 | 204 |
| Dissanayake unseen | 61 | 582 | 0 | 582 |
| Li 2019 | 85 | 558 | 0 | 558 |

No near-duplicate group spans two sources after the exact copies are removed, so no training record has to be removed in any split. The near-duplicate groups that do exist lie inside the Dissanayake files and are respected by the inner tuning folds.

# 5. Checks

| Check | Result |
| --- | --- |
| Protocol fingerprint unchanged since registration | PASS |
| Data version 1.0 unchanged | PASS |
| No exact copy left across sources | PASS |
| Step 10 near-duplicate groups kept together | PASS |
| Every label conflict listed | PASS (1) |
| SHA-256 manifest verified | PASS |
| Full automated test suite | PASS - 125 of 125 |

# 6. Problems and fixes

•  None.

# 7. Decisions

•  No new decision; the rules of D28 and the Study 2 protocol were applied as written.

# 8. Files produced

•  03_Data/study2/: study2_pooled.csv, study2_dedup_log.csv, study2_counts.csv, study2_loso_sizes.csv, study2_checks.json, study2_data.sha256

•  06_Python_ML/src/study2/step31b_pooled.py; 06_Python_ML/tests/test_study2_pooled.py; 03_Data/interim/step31b_report.md

# 9. What was achieved

•  The Study 2 data set is built: 702 records, 643 in the primary scope, with groups, six classes and hybrid inputs.

•  No exact copy remains across sources (125 copies removed); the one label conflict is listed.

•  Every file has a SHA-256 in its own manifest; data version 1.0 is unchanged.

# 10. Record of this step

| Item | Record |
| --- | --- |
| Step | 31B - Build the pooled, deduplicated data set (Study 2) |
| Environment | Claude Code (this chat) |
| Completed | 12 October 2026 |
| Status | Done |
| Main inputs | dga_master.csv; conventional_predictions.csv; Study 2 protocol (fingerprint checked) |
| Main outputs | 03_Data/study2/: study2_pooled.csv, study2_dedup_log.csv, study2_counts.csv, study2_loso_sizes.csv, study2_checks.json, study2_data.sha256 |
| Checks | no copies left; Step 10 groups preserved; manifest verified; 125 of 125 tests pass |
| Decisions | none new (rules of D28) |

# 11. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| DF2 | Made in Step 9 from DS1-DS5 (Steps 5-9 programs). Use: All clean records with role, class, flags and original values. | File: 03_Data/processed/dga_master.csv; SHA-256 AE9E6C0C84CF7180... |
| DF9 | Made in Step 16 by run_conventional_batch.m on data version 1.0. Use: Input of the agreement analysis (Step 18 onwards) and of the boundary-distance test (RQ2). | File: 11_Results/conventional/conventional_predictions.csv; SHA-256 30DDD34EEF12AEF6... |
| DF40 | Written in Step 31A (decision D28) before any Study 2 model was trained; fingerprint recorded in 03_Data/study2/study2_protocol.sha256. Use: Fixes the questions, data rules, models, measures, statistics and decision rules of Study 2. | File: 00_Project_Admin/Study2_Protocol.docx; SHA-256 3EF4C2855A16C5A9... |
| DF41 | Produced in Step 31B by step31b_pooled.py from DF2 and DF9 by the rules of the Study 2 protocol (DF40, decision D28). Use: Pooled, deduplicated records of the four sources with six classes, near-duplicate groups and hybrid inputs. | File: 03_Data/study2/study2_pooled.csv; SHA-256 3B03F7D44B56A87B... |
| DF3 | Made in Step 10 from DF2. Use: Fold number of every training record in each of 10 repeats. | File: 03_Data/processed/folds.csv; SHA-256 0CE7D9AF3C7CE9F6... |
| SW1 | Python 3.12.10 with 55 pinned packages (06_Python_ML/requirements.txt). Use: Runs every data-preparation, statistics and checking program. | https://www.python.org/downloads/release/python-31210/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |

# 12. How this helps the next steps

Next step: Step 31C: hold out each source in turn, train and tune models B and C on the other sources, apply model A unchanged, and predict the held-out source once.

•  Step 31C trains and tests models A, B and C by holding out each source in turn, using this file only.

# 13. Open items and limitations

•  The one label conflict (PD in the Dissanayake unseen file, spark discharge = D1 in Li 2019) is resolved by the priority rule; neither label is inspection-confirmed.

•  The IEC TC 10 power-transformer set is small (58 records) and has only one PD record, so results when it is held out will be uncertain.

•  Normal records come from the Dissanayake files only; when both are held out in turn, the model still learns Normal from the other.

# 14. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| H2 | hydrogen | Gas formed mainly by partial discharges (low-energy electrical activity) in the oil. |
| Normal (class 0) | no fault | A transformer without a fault: its gases stay at the levels normally found in service. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| D2 | discharges of high energy | Arcing with power follow-through: extensive carbonisation, metal fusion, sometimes tripping of the equipment. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| T2 | thermal fault 300 to 700 °C | Overheating in which the paper has carbonised. |
| T3 | thermal fault above 700 °C | Very hot fault: carbonised oil, metal colouring (800 °C) or metal fusion (above 1 000 °C). |
| T12 | T1 or T2 (merged class) | Used in this project when a source does not say whether the thermal fault was below or above 300 °C. |
| IEC | International Electrotechnical Commission | The world body that publishes electrical standards, such as IEC 60599. |
| IEC 60599 | IEC guide to the interpretation of dissolved and free gas analysis | The international standard that defines the fault types and the IEC gas-ratio method. |
| IEC TC 10 | IEC Technical Committee 10 (fluids for electrotechnical applications) | The committee that wrote IEC 60599; its database of 117 inspected faulty units is this thesis's main benchmark. |
| Rogers ratios | older gas-ratio method by R.R. Rogers | A ratio table that names faults from three gas ratios; kept in IEEE C57.104. |
| Inspection-based label | fault confirmed by opening the equipment | The fault type was seen by engineers after the unit was opened, not guessed from the gases. |
| Training (development) set | records used to build the models | 439 clean records from the Dissanayake training file. |
| Primary and sensitivity analysis | main analysis and its repeat under another reasonable choice | The sensitivity analysis shows whether the conclusion changes when a choice is made differently. |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| Fold | one part of the cross-validation split | Here the training data are cut into 5 folds (parts). |
| CSV | comma-separated values | A plain-text table file that any program can read. |
| docx | Microsoft Word document | The format of these reports. |
| Python | programming language | Used for data preparation, machine learning and statistics (Claude Code). |
| venv | virtual environment | A private copy of Python and its libraries that belongs to this project only. |
| pytest | Python testing tool | Runs the automated checks that prove the data rules hold. |
| D1-D23 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| Boundary distance | Distance to the nearest decision boundary | How far a sample is from the line where the diagnosis would change. A small distance means a small measurement error could change the diagnosis. |
| Boundary distance | how far a sample lies from a decision line | For the ratio methods in decades of the ratio, for Duval in percentage points to the nearest zone edge (Analysis Plan Eqs. 9-10). |
| Study 2 | exploratory improvement study | An extra study, planned after the main results, that tests ways to improve the model; reported separately from the main (confirmatory) results. |
| Leave-one-source-out | testing on a source never seen in training | Each data source is held out in turn; the model is trained on the other sources and tested on the held-out one, which measures how well it transfers to new data. |
| Hybrid model | machine learning plus expert rules | A model that receives the conventional methods' answers and boundary distances as extra inputs besides the gas features. |