Step 31F Report

Search for a fresh confirmation data set (Study 2)

Environment: Claude Code (this chat)   |   Completed: 12 October 2026   |   Report version 1 (12 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: No openly licensed set of inspection-confirmed DGA cases that is independent of the data already used could be found. Seven candidates were assessed: two openly licensed Mendeley data sets lack a documented labelling method (one has only 25 records), a Ghanaian study (KNUST, 589 'field-verified' records) does not state its source or availability, and the remaining candidates are subscription-only, compiled from the literature, or not per-case data. The strongest route is to obtain inspection records from Ghanaian utilities through the supervisor.

# 1. Purpose of this step

This step looks for the one thing that can turn Study 2's exploratory reject-option result into a confirmed one: a fresh, legitimately licensed set of DGA cases with inspection-confirmed faults.

# 2. Method used

## Approach

A structured search of legitimate sources - open data repositories (Mendeley Data, Zenodo), IEEE DataPort, open-access journals and preprint servers, and the CIGRE publication catalogue - for DGA cases whose fault was confirmed by inspection and that have not been used in this project.

Each candidate was judged on its own landing page against four requirements: a stated licence, a documented inspection-based labelling method, enough records for a confirmation test, and the possibility of checking overlap with the 827 records already used. No file was downloaded.

## Why this method

•  Study 2's positive result (the reject option) is exploratory because IEC TC 10 and Li 2019 had already been seen; only an untouched, inspection-confirmed data set can confirm it.

•  Only legitimately licensed data may be used (project rule); pirated or unlicensed copies are excluded.

## Settings and rules

| Setting | Value |
| --- | --- |
| Sources searched | Mendeley Data, Zenodo, IEEE DataPort, PubMed Central / open-access journals, engrXiv, CIGRE e-cigre catalogue |
| Requirements | licence; inspection-confirmed labels with method; adequate size; overlap checkable |
| Excluded | data already used (Dissanayake files, IEC TC 10, Li 2019); unlicensed copies |

## Tools and programs

•  Web search and the data sets' landing pages; record in 03_Data/provenance/study2_confirmation_search.md

# 3. Candidates assessed

| Candidate | Licence / access | Size | Labels | Assessment |
| --- | --- | --- | --- | --- |
| Shutenko and Kulyk 2023, Mendeley Data (Ukraine) | CC BY 4.0 | 25 | 'identified fault type', method not stated | small; ask authors about labelling |
| Montero Jimenez and Gomez-Ramirez 2026, Mendeley Data (Costa Rica) | CC BY 4.0 | not stated | not described | check the files |
| Adu-Gyamfi 2026, engrXiv (KNUST, Ghana) | paper CC BY; data not stated | 589 | 'field-verified', method not stated | most promising; contact author |
| Li, IEEE DataPort | subscription | not stated | not documented | not suitable |
| Liu / Abdo, IEEE DataPort | subscription | 177 | from the literature | not suitable (overlap likely) |
| Arias Velasquez 2024, Heliyon | CC BY 4.0 | totals only | no per-case table | not suitable |
| CIGRE TB 771 (2019) | brochure; data not released | - | - | reference only |

# 4. Recommended route

1.  Local inspection records (strongest): request DGA results of transformers whose fault was later confirmed by inspection or repair from Ghanaian utilities (for example GRIDCo, ECG, VRA) through Prof. J. Annan, under a data-sharing agreement and ethics approval; the draft request letter already exists (00_Project_Admin/Dataset_Request_Letter_Prof_Annan.docx).

2.  Contact the KNUST author about the source, verification method, licence and overlap of the 589 records.

3.  Contact the Ukrainian authors about how the fault types were identified; if by inspection, use the 25 records only as a small supplementary check.

Any new data set must pass the project's checks before use: licence in the register, SHA-256, exact and near-duplicate overlap check against the 827 records already used, label mapping, and a written plan fixed before the model is applied.

# 5. Checks

| Check | Result |
| --- | --- |
| Every candidate recorded with citation, link and licence | PASS |
| No file downloaded; no unlicensed or pirated source used | PASS |
| Data already used excluded from the search | PASS |

# 6. Problems and fixes

•  Several pages give no labelling method; these were recorded as unknown rather than guessed.

# 7. Decisions

•  No new decision. Whether to request utility data or contact authors is for the researcher and the supervisor.

# 8. Files produced

•  03_Data/provenance/study2_confirmation_search.md; register entries C1-C3 and DF46

# 9. What was achieved

•  Seven candidate sources were assessed and recorded with citation, licence and suitability.

•  A practical route to a genuine confirmation set is identified (Ghanaian utility inspection records through the supervisor; contact with two data-set authors).

•  Study 2 (Steps 31A-31F) is complete.

# 10. Record of this step

| Item | Record |
| --- | --- |
| Step | 31F - Search for a fresh confirmation data set (Study 2) |
| Environment | Claude Code (this chat) |
| Completed | 12 October 2026 |
| Status | Done - no suitable data set available yet |
| Main inputs | Study 2 protocol (S2-Q4); data card rules |
| Main outputs | 03_Data/provenance/study2_confirmation_search.md; register entries C1-C3, DF46 |
| Checks | every candidate cited with its licence; no file downloaded; no unlicensed source used |
| Decisions | none new; data collection from utilities needs the researcher's and supervisor's decision |

# 11. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| C1 | O. Shutenko and O. Kulyk, "DGA results for 25 transformers," Mendeley Data, v1, 2023. Use: Possible small supplementary confirmation set (Study 2, S2-Q4). | https://data.mendeley.com/datasets/x22y4s9fks/1; DOI 10.17632/x22y4s9fks.1 |
| C2 | J. J. Montero Jimenez and G. A. Gomez-Ramirez, "Power transformer data for fault diagnosis," Mendeley Data, v2, 2026. Use: Possible confirmation source - contents and labels unknown. | https://data.mendeley.com/datasets/98f4z3f8tx/2; DOI 10.17632/98f4z3f8tx.2 |
| C3 | K. Adu-Gyamfi, "Dissolved Gas Analysis-Based Power Transformer Fault Diagnosis Using Random Forest: A Comparative Evaluation Against K-Nearest Neighbors, Support Vector Machine, and Artificial Neural Network Classifiers," engrXiv preprint, 2026. Use: Most promising Ghanaian lead for a confirmation set. | https://engrxiv.org/preprint/view/8150; DOI 10.31224/8150 |
| DF46 | Written in Step 31F. Use: Result of the search for a fresh inspection-confirmed data set; recommended routes. | File: 03_Data/provenance/study2_confirmation_search.md; SHA-256 24C8D735E831DAF2... |
| DF40 | Written in Step 31A (decision D28) before any Study 2 model was trained; fingerprint recorded in 03_Data/study2/study2_protocol.sha256. Use: Fixes the questions, data rules, models, measures, statistics and decision rules of Study 2. | File: 00_Project_Admin/Study2_Protocol.docx; SHA-256 3EF4C2855A16C5A9... |

# 12. How this helps the next steps

Next step: Step 32: one script rebuilds every Chapter 4 table and figure from the saved files, including the Study 2 section (labelled exploratory).

•  If inspection-confirmed records are obtained, they can confirm (or refute) the reject-option result under a new, pre-registered plan.

•  Step 32 now rebuilds all Chapter 4 tables and figures, including the Study 2 section.

# 13. Open items and limitations

•  S2-Q4 is answered 'not yet': no openly licensed, inspection-confirmed, independent data set was found.

•  Contacting authors and utilities, data-sharing agreements and ethics approval are decisions for the researcher and the supervisor.

•  The size of the CIGRE TB 771 data collection is taken from an industry summary and is TO VERIFY in the brochure itself.

# 14. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| IEC | International Electrotechnical Commission | The world body that publishes electrical standards, such as IEC 60599. |
| IEC TC 10 | IEC Technical Committee 10 (fluids for electrotechnical applications) | The committee that wrote IEC 60599; its database of 117 inspected faulty units is this thesis's main benchmark. |
| IEEE | Institute of Electrical and Electronics Engineers | A professional body that publishes engineering standards and journals. |
| CC BY | Creative Commons Attribution licence | An open-access licence: the paper may be read and reused freely if the authors are credited. |
| Random Forest | random forest | Many decision trees, each trained on a random sample; they vote for the answer. |
| Inspection-based label | fault confirmed by opening the equipment | The fault type was seen by engineers after the unit was opened, not guessed from the gases. |
| Data card | provenance record of a dataset | States where a dataset came from, its licence, its fingerprint and known problems. |
| Label map | translation table of fault labels | Lists every original label, its new code and the reason. |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| docx | Microsoft Word document | The format of these reports. |
| D1-D23 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| TO VERIFY | not yet checked against the original source | Marks any value or fact that must still be confirmed before final use. |
| Study 2 | exploratory improvement study | An extra study, planned after the main results, that tests ways to improve the model; reported separately from the main (confirmatory) results. |
| Confirmatory vs exploratory | tested as planned vs looked into afterwards | Confirmatory results test a hypothesis fixed in advance on untouched data; exploratory results come from analyses planned after seeing some results and need confirmation on new data. |
| Pre-registration | writing the plan before the analysis | The questions, data rules, methods and decision rules are fixed and fingerprinted before any result exists, so the analysis cannot be fitted to the results. |
| Reject option | the model may decline to answer | The model gives a diagnosis only when its highest class probability reaches a threshold; otherwise it reports no diagnosis (Chow, 1970). |