Step 38 Report

Build the FastAPI service

Environment: Claude Code (this chat)   |   Completed: 13 October 2026   |   Report version 2 (13 October 2026)

Thesis: Intelligent Power Transformer Fault Diagnosis Using Dissolved Gas Analysis and Machine Learning (MPhil, UMaT)

Abbreviations (such as PD, D1, T1, ppm) and technical terms are explained in the last section of this report.

In short: The released machine-learning model now runs as a small web service on the project laptop. A program sends the five gas values of a sample and gets back the fault class, the probability of every class and the model version. Wrong input (a missing or negative gas, text instead of a number, a misspelt name) is refused with a clear message. When the 388 held-out records were sent to the running service, every answer was exactly the saved offline answer, and the service answered in about 55.3 ms (95 % of requests within 62.1 ms), far inside the 1 s target. The MATLAB dashboard (Step 39) can now be connected.

# 1. Purpose of this step

Stage H joins the three environments into one test bench. This first step makes the machine-learning model available to MATLAB: it wraps the released model in a web service with a fixed, documented interface, so that the dashboard can ask for a diagnosis and get exactly the result of the offline analysis.

# 2. Method used

## Approach

The released model dga_model_v1 (Step 24) was put behind a small web service written with FastAPI. A program - later the MATLAB dashboard - sends the five gas values of one sample as a JSON message to the address POST /diagnose and receives the machine-learning diagnosis: the most probable fault class, the probability of every class and the model version. GET /health tells whether the service is running and GET /version returns the model's metadata.

The service loads the model file once at start-up through the project's safe loader, which compares the file's SHA-256 fingerprint with the recorded one; if they differ the service does not start. Every request is checked before the model sees it: all five gases must be present, be numbers, be finite and be zero or more; anything else is refused with a clear message. Nothing is trained or tuned in this step.

The service was then tested in two ways: 21 automated tests (pytest) of the answers and the input checks, and a run of the real server on the project laptop to which the 388 held-out records were sent one by one; each answer was compared with the saved offline prediction, and the time to answer was measured.

## Why this method

•  A web service is the standard way to let a MATLAB application use a Python model: MATLAB's webwrite sends the request, and the model stays in the exact Python environment in which it was trained, so the dashboard gets the offline answers and not an approximate copy.

•  Strict input checks stop silent errors, for example a misspelt gas name or a negative value, before they reach the model; the fingerprint check guarantees that the service answers with the released model and no other.

•  Comparing the service with the saved offline predictions shows, before the MATLAB work starts, that nothing is lost between the model and the interface (the requirement of the Analysis Plan, Section 10, is 100 % fidelity).

## Settings and rules

| Setting | Value |
| --- | --- |
| Endpoints | POST /diagnose, GET /health, GET /version; interface description in openapi.json (OpenAPI 3.1.0) |
| Address | http://127.0.0.1:8000 (this computer only; no log-in) |
| Input rules | H2, CH4, C2H6, C2H4, C2H2 in ppm, required, numbers, finite, >= 0; optional record_id (text, at most 64 characters); any other field refused (HTTP 422) |
| Answer | fault_class, probabilities (7 classes, not rounded), confidence (largest probability), model name, version and SHA-256, data version, notes |
| Model | dga_model_v1 (Random Forest, feature set F4), SHA-256 1C46D103...7809523, loaded with model_io.load_model() |
| Service check | real server; 5 warm-up requests not counted; then 388 held-out records one at a time; time from sending to receiving and decoding the answer |
| Software | Python 3.12.10, FastAPI 0.143.0, Uvicorn 0.54.0, Pydantic 2.14.0, HTTPX 0.28.1, scikit-learn 1.9.1 |

## Equations

F=nmatchN#1

where:

F  –  fidelity of the service (fraction; required value 1)

nmatch  –  number of held-out records for which the service returns exactly the saved offline class

N  –  number of held-out records sent to the service (388)

tp95=Q0.95t1,…,tN#2

where:

tp95  –  95th percentile of the response times [ms]: 95 % of the requests were answered at least this fast

ti  –  response time of request i [ms]

Q0.95  –  the 0.95 quantile, linear interpolation between ordered values (numpy.percentile)

## Tools and programs

•  09_API_FastAPI/app/main.py and app/schemas.py (service); tests/test_api.py (pytest); step38_service_check.py (real-server check); export_openapi.py (openapi.json); example_request.py; run_service.ps1

## Method references

[M33] OpenAPI Initiative, OpenAPI Specification v3.1.0, 15 February 2021 (editors D. Miller, J. Whitlock, M. Gardiner, M. Ralphson, R. Ratovsky, U. Sarid). https://spec.openapis.org/oas/v3.1.0

[M34] R. Fielding, M. Nottingham and J. Reschke (Eds.), "HTTP Semantics," RFC 9110, STD 97, RFC Editor, June 2022. doi: 10.17487/RFC9110

# 3. What was done, step by step

1.  Checked the inputs of the step: the roadmap (Step 38), the Analysis Plan (Section 10), the folder README and the MATLAB function ml_diagnose.m that will call the service (its address and the answer fields it reads). Stage G (Steps 33-37) was already complete.

2.  Fixed the design before writing any code (decision D36): ML diagnosis only (the conventional methods are computed in MATLAB), input rules, answer fields, start-up check, local address, tests.

3.  Wrote the service (app/main.py, app/schemas.py) and wrote openapi.json from it (export_openapi.py).

4.  Wrote 21 pytest tests; the first run found a fault (see Problems and fixes), which was corrected; all tests then passed, and the whole project suite (154 tests) passed.

5.  Ran the real server on the project laptop and sent the 388 held-out records (step38_service_check.py); started it a second time with run_service.ps1 and checked /health, one diagnosis and one refused input.

# 4. How the service is used

| Address | What it does |
| --- | --- |
| POST /diagnose | Send one sample (five gases in ppm, optional record_id); receive the class, the 7 probabilities, the confidence, model name, version, SHA-256 and data version, and notes |
| GET /health | Answers status ok, model loaded and the verified model fingerprint |
| GET /version | API version and the model metadata (inputs, unit, classes, training details) |

Start: powershell -ExecutionPolicy Bypass -File 09_API_FastAPI\run_service.ps1 (stop with Ctrl+C). While it runs, http://127.0.0.1:8000/docs shows an interactive page of the interface.

## Example

Request (an illustrative sample, not a measured record): H2 200.0, CH4 300.0, C2H6 80.0, C2H4 450.0, C2H2 2.0 ppm.

| Normal | PD | D1 | D2 | T1 | T2 | T3 | Class |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0.0 | 0.002 | 0.0 | 0.0 | 0.014 | 0.098 | 0.886 | T3 |

The answer is T3 (thermal fault above 700 degC) with probability 0.886; the ratios of this sample (C2H2/C2H4 close to 0, CH4/H2 = 1.5, C2H4/C2H6 = 5.6) also point to T3 in the IEC 60599 ratio table. With H2 = -5 the service refuses the sample with HTTP status 422 and the message 'Input should be greater than or equal to 0' for the field H2.

# 5. Results of the service check

| Measure | Result |
| --- | --- |
| Records sent (held-out: benchmark, internal and external test) | 388 |
| Failed requests | 0 |
| Same class as the offline prediction | 388 of 388 (F = 1.0) |
| Same 7 probabilities, digit for digit | 388 of 388 |
| record_id returned unchanged | 388 of 388 |
| Response time, median | 55.3 ms |
| Response time, 95th percentile (target below 1000 ms) | 62.1 ms |
| Response time, fastest and slowest | 49.0 ms and 66.8 ms |
| Start-up time (until /health answers; includes loading the model) | 4.86 s |
| Computer | AMD Ryzen 5 3500U with Radeon Vega Mobile Gfx, 8 logical processors, 21.9 GB RAM, Windows 11 (build 10.0.26300), Python 3.12.10 |

Only the record_id, the five gases and the saved predictions were read; the true fault labels were not read and no accuracy was computed, so this check cannot influence any result. The run is noted in 11_Results/ml/test_set_access.log. The response time includes the model calculation (500 decision trees per sample) as well as sending and decoding the messages.

# 6. Checks

| Check (roadmap: all tests pass and the service runs on the project laptop) | Result |
| --- | --- |
| Service tests (validation, answers, identity with the offline file, refusal of a changed model file, openapi.json up to date) | PASS - 21 of 21 |
| Whole project test suite | PASS - 154 of 154 |
| Real server on the project laptop: 388 held-out records | PASS - all identical, no failed request |
| Response time, 95th percentile below 1 s (Analysis Plan item 15) | PASS - 62.1 ms (preliminary) |
| Start script run_service.ps1: /health, one diagnosis, one refused input | PASS |
| Model file with one changed byte | PASS - the service refuses to start |

# 7. Problems and fixes

•  The first test run found that a NaN or Infinity value made the service fail with a server error instead of refusing the input: the error message repeats the wrong value, and NaN cannot be written in JSON. The error handler now writes such values as text, and the tests check that the answer is HTTP 422 naming the field.

•  Report version 2: the register IDs of the Step 38 files are DF79-DF81. Version 1 used DF71-DF73, which a parallel session had meanwhile given to the Step 39 files; the Step 39 entries were kept and the Step 38 entries renumbered.

•  The plain 'python' command of this computer does not have the project's packages; the start script and all commands use the project environment (06_Python_ML\.venv).

# 8. Decisions

•  D36 (closed, procedural): design of the service, fixed before it was written - ML diagnosis only; input rules; answer fields; start-up fingerprint check; local address; tests and the preliminary service check. It replaces the older plan in the folder README (conventional answers and an agreement flag in the service).

# 9. Files produced

•  09_API_FastAPI/app/__init__.py, main.py, schemas.py; tests/test_api.py; export_openapi.py; openapi.json; example_request.py; step38_service_check.py; run_service.ps1; README.md; code_manifest_step38.sha256

•  09_API_FastAPI/checks/step38_service_check.json, step38_response_times.csv, step38_example.json

# 10. What was achieved

•  The diagnosis service exists and runs on the project laptop: one command starts it, and the dashboard can ask it for a diagnosis over HTTP.

•  The service returned exactly the saved offline class and probabilities for all 388 held-out records (fidelity 100 %, preliminary), with no failed request.

•  It answers in 55.3 ms (median) and 62.1 ms (95th percentile), far inside the 1 s target.

•  openapi.json describes the interface for the MATLAB dashboard of Step 39.

# 11. Record of this step

| Item | Record |
| --- | --- |
| Step | 38 - Build the FastAPI service |
| Environment | Claude Code (this chat) |
| Completed | 13 October 2026 |
| Status | Done |
| Main inputs | 06_Python_ML/models/dga_model_v1.joblib (DF27); for the checks: ml_predictions.csv (DF25) and the gases of dga_master.csv (DF2) |
| Main outputs | 09_API_FastAPI: app/, tests/, openapi.json, run_service.ps1, checks/step38_service_check.json, step38_response_times.csv, step38_example.json, code_manifest_step38.sha256 |
| Checks | 21 of 21 service tests and 154 of 154 project tests pass; real server 388/388 identical answers; p95 62.1 ms |
| Decisions | D36 (design of the service) |

# 12. Data and sources used in this step

Every dataset, document and file this step used is listed below with its full reference, link and fingerprint (SHA-256, first 16 characters shown). Method references are listed in the 'Method used' section. The complete record, with access dates, licences and full fingerprints, is the Data and Source Register (00_Project_Admin/Step_Reports/Data_and_Source_Register.docx and 03_Data/provenance/data_and_source_register.csv).

| ID | Reference and use in the project | Link, DOI and local file |
| --- | --- | --- |
| DF27 | Produced in Step 24 by step24_save_model.py: byte-for-byte copy of DF24 (decision D21). Use: The released model: loaded through model_io.load_model(); reproduces ml_predictions.csv exactly. | File: 06_Python_ML/models/dga_model_v1.joblib; SHA-256 1C46D10391429385... |
| DF25 | Produced in Step 22 by step22_final_fit.py with DF24; test sets predicted once (see test_set_access.log). Use: Predicted class and class probabilities for every internal-test, IEC TC 10 and Li 2019 record. | File: 11_Results/ml/ml_predictions.csv; SHA-256 D103E8CA1B21C49A... |
| DF2 | Made in Step 9 from DS1-DS5 (Steps 5-9 programs). Use: All clean records with role, class, flags and original values. | File: 03_Data/processed/dga_master.csv; SHA-256 AE9E6C0C84CF7180... |
| SW1 | Python 3.12.10 with 55 pinned packages (06_Python_ML/requirements.txt). Use: Runs every data-preparation, statistics and checking program. | https://www.python.org/downloads/release/python-31210/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |
| SW6 | FastAPI 0.143.0 (web framework), Uvicorn 0.54.0 (server), Pydantic 2.14.0 (input validation), HTTPX 0.28.1 (HTTP client for tests and the service check); Python packages pinned in 06_Python_ML/requirements.txt. Use: Runs the diagnosis service of Step 38 and its tests. | https://fastapi.tiangolo.com/; File: 06_Python_ML/requirements.txt; SHA-256 594BC0CB122EED99... |
| DF79 | app/__init__.py, app/main.py, app/schemas.py, export_openapi.py, openapi.json, tests/test_api.py, step38_service_check.py, example_request.py, run_service.ps1 (09_API_FastAPI). Use: Fingerprints of the diagnosis service, its tests and its interface description. | File: 09_API_FastAPI/code_manifest_step38.sha256; SHA-256 908E8490FED92261... |
| DF80 | Written by export_openapi.py from the application (OpenAPI 3.1.0, M33): endpoints POST /diagnose, GET /health, GET /version and the request and answer schemas. Use: Input of Step 39 (the dashboard calls /diagnose as described here). | File: 09_API_FastAPI/openapi.json; SHA-256 46FF292FE22E7C06... |
| DF81 | step38_service_check.json (hardware, versions, identity counts, preliminary response times) and step38_response_times.csv (one row per held-out record), written by step38_service_check.py. Use: Evidence that the real service returns exactly the offline answers (388/388) and responds within the 1 s target (preliminary). | File: 09_API_FastAPI/checks/step38_service_check.json; SHA-256 879399DB59DBBEFD... |

# 13. How this helps the next steps

Next step: Step 39 (MATLAB Agentic Toolkit): build the App Designer dashboard DGADashboard.mlapp that shows the three conventional diagnoses computed in MATLAB, calls /diagnose for the ML diagnosis (openapi.json), plots the Duval Triangle and shows the agreement flag and the operating context.

•  Step 39 (MATLAB Agentic Toolkit) builds the dashboard against openapi.json; in ml_diagnose.m only ML_ENABLED has to be set to true (the address is already http://127.0.0.1:8000/diagnose and the answer fields fault_class and probabilities match).

•  The optional record_id lets the test bench (Steps 40-41) write each answer next to its record, so Step 42 can compare the log with the offline predictions record by record.

•  Table 4.11 and Figure 4.21 will be made in Step 42 from the test-bench log; this step shows the Python side already meets both requirements.

# 14. Open items and limitations

•  The fidelity and response time here are preliminary: they are measured from Python on the same computer. The formal values (Table 4.11, Figure 4.21) are measured through the MATLAB dashboard in Steps 41-42 and will include MATLAB's own time.

•  The service has no log-in and listens only on this computer; it is a test bench, not a product for a utility network. Running it on a network would need authentication and encryption (not in the scope of the thesis).

•  The service returns the model's answer for any valid sample, including samples unlike the training data; it has no check for unusual samples and no reject option (the reject option of Study 2 is exploratory). The model card's limitations apply.

•  ml_diagnose.m does not yet send a record_id; the test bench of Step 41 should send it so that answers can be matched to records.

•  pytest shows a deprecation warning of the Starlette test client (the httpx package); it does not affect any result.

# 15. Abbreviations and terms used in this report

Every abbreviation and technical term that appears in this report is explained below. The fault types follow the definitions of IEC 60599 (clause 5.2). The full list for the whole project is kept in 00_Project_Admin/abbreviations_glossary.csv.

| Abbreviation or term | Meaning | Plain explanation |
| --- | --- | --- |
| MPhil | Master of Philosophy | The research degree this thesis is written for. |
| UMaT | University of Mines and Technology, Tarkwa | The university where the thesis is submitted. |
| DGA | Dissolved Gas Analysis | Measuring the gases dissolved in transformer oil to find faults inside the transformer without opening it. |
| ppm | parts per million | Amount of gas in the oil; 1 ppm = 1 microlitre of gas in 1 litre of oil. |
| H2 | hydrogen | Gas formed mainly by partial discharges (low-energy electrical activity) in the oil. |
| CH4 | methane | Hydrocarbon gas formed when oil is overheated, mainly at the lower fault temperatures. |
| C2H6 | ethane | Hydrocarbon gas formed when oil is overheated, mainly at the lower fault temperatures. |
| C2H4 | ethylene | Hydrocarbon gas favoured above about 500 °C; it rises as thermal faults get hotter. |
| C2H2 | acetylene | Gas that needs at least 800 to 1 200 °C; formed in significant amounts mainly in electrical arcs. |
| Normal (class 0) | no fault | A transformer without a fault: its gases stay at the levels normally found in service. |
| PD | partial discharges | Small electrical discharges that only partly bridge the insulation (corona type, can form X-wax, or small sparking punctures in paper). |
| D1 | discharges of low energy | Sparking or tracking: larger punctures in paper, carbonised paper surface or carbon particles in oil. |
| D2 | discharges of high energy | Arcing with power follow-through: extensive carbonisation, metal fusion, sometimes tripping of the equipment. |
| T1 | thermal fault below 300 °C | Overheating in which the paper has turned brownish. |
| T2 | thermal fault 300 to 700 °C | Overheating in which the paper has carbonised. |
| T3 | thermal fault above 700 °C | Very hot fault: carbonised oil, metal colouring (800 °C) or metal fusion (above 1 000 °C). |
| IEC | International Electrotechnical Commission | The world body that publishes electrical standards, such as IEC 60599. |
| IEC 60599 | IEC guide to the interpretation of dissolved and free gas analysis | The international standard that defines the fault types and the IEC gas-ratio method. |
| IEC TC 10 | IEC Technical Committee 10 (fluids for electrotechnical applications) | The committee that wrote IEC 60599; its database of 117 inspected faulty units is this thesis's main benchmark. |
| Ratio method | diagnosis from gas ratios | Divides one gas by another (for example C2H2/C2H4) and compares the result with fixed limits to name the fault. |
| Duval Triangle 1 | graphical DGA method by M. Duval | The shares of CH4, C2H4 and C2H2 are plotted as one point in a triangle divided into fault zones. |
| ML | machine learning | Computer methods that learn the link between gas values and fault type from labelled examples. |
| Random Forest | random forest | Many decision trees, each trained on a random sample; they vote for the answer. |
| Benchmark | fixed reference test set | The IEC TC 10 cases whose faults were confirmed by inspection; every method is scored on them. |
| Training (development) set | records used to build the models | 439 clean records from the Dissanayake training file. |
| External test set | Li (2019) dataset | 201 records from a different source (86 independent of the benchmark), used to test the models on new data. |
| Complete-case | records with all five gases reported | Used only for the sensitivity analysis. |
| SHA-256 | Secure Hash Algorithm, 256-bit | A file's digital fingerprint: if one byte of the file changes, the fingerprint changes. |
| Median, quartiles | middle value and the values a quarter and three quarters of the way up | Describe typical gas levels without being pulled by extreme values. |
| CSV | comma-separated values | A plain-text table file that any program can read. |
| docx | Microsoft Word document | The format of these reports. |
| Python | programming language | Used for data preparation, machine learning and statistics (Claude Code). |
| venv | virtual environment | A private copy of Python and its libraries that belongs to this project only. |
| pytest | Python testing tool | Runs the automated checks that prove the data rules hold. |
| MATLAB | MATLAB (MathWorks) | Numerical programming environment; used for the conventional methods and the dashboard (MATLAB Agentic Toolkit). |
| D1-D40 (decisions) | numbered project decisions | Decisions recorded in 00_Project_Admin/decisions_log.md; not the same as the fault codes D1 and D2. |
| Roadmap | the 45-step project plan | Project_Roadmap.docx: every step, its environment and its outputs, done strictly in order. |
| Analysis Plan | Expected Results and Analysis Plan | The approved document that fixes the measures, tests, tables and figures before results are seen. |
| Feature set (F1-F4) | the inputs given to a model | F1 log gases, F2 gas percentages, F3 log-ratios and Duval percentages, F4 all of them (Analysis Plan 5.1). |
| Class probability | model's confidence in each class | For every record the model gives a probability for each of the seven classes; they add up to 1 and the largest is the prediction. |
| joblib | Python file format for saved models | Stores the fitted pipeline (preprocessing and model together) so it can be reloaded and give exactly the same predictions. |
| Model card | short fact sheet of a model | States what the model is for and not for, its inputs, training data, measured performance and limitations (Mitchell et al., 2019). |
| NaN (not measured) | Not a Number, used here for a gas that was not measured | A marker for a missing value. It is different from 0 ppm: 0 ppm means the gas was measured and not found, NaN means nobody measured it, so no ratio or percentage can be calculated from it. |
| Study 2 | exploratory improvement study | An extra study, planned after the main results, that tests ways to improve the model; reported separately from the main (confirmatory) results. |
| Confirmatory vs exploratory | tested as planned vs looked into afterwards | Confirmatory results test a hypothesis fixed in advance on untouched data; exploratory results come from analyses planned after seeing some results and need confirmation on new data. |
| Reject option | the model may decline to answer | The model gives a diagnosis only when its highest class probability reaches a threshold; otherwise it reports no diagnosis (Chow, 1970). |
| Held-out record | A record of the master table that is not used for development | A record kept aside (benchmark, internal test or external test) so that the methods are judged on data they did not learn from. |
| Agreement flag | Lamp that says whether the conventional methods agree with the ML diagnosis | Green: all three conventional methods give the same class as ML. Amber: at least one does not. Grey: no ML answer. |
| webwrite | MATLAB function that sends data to a web service | How the dashboard sends the five gas values to the FastAPI service and receives the ML class. |
| App Designer | MATLAB tool for building apps (.mlapp files) | The program in which DGADashboard.mlapp is edited; the file can also be run without opening it. |
| Warm-up call | One of the first calls to the service, which can be slower than the later ones | The first few requests set up the connection; they are flagged in the log so that they can be excluded or kept openly. |
| Response time | Time between sending a request to the service and receiving the answer | How long the engineer waits for the ML diagnosis; reported as the median and the 95th percentile. |
| API | application programming interface | A fixed way for one program to ask another for something; here the dashboard asks the Python service for a diagnosis. |
| HTTP | Hypertext Transfer Protocol | The message format of the web; the dashboard sends a request and the service sends back an answer with a status code (200 = OK, 422 = input refused). |
| JSON | JavaScript Object Notation | A plain-text format for named values, e.g. {"H2": 200}; requests and answers of the service are written in it. |
| OpenAPI (openapi.json) | standard description of a web interface | A file that lists every address of the service, what it must be sent and what it answers, so another program can be built against it. |
| FastAPI | Python framework for web services | The library used to build the diagnosis service; it also checks every input against the declared rules. |
| Endpoint | one address of a web service | For example POST /diagnose (send a sample, get a diagnosis) or GET /health (is the service alive?). |
| 127.0.0.1 (localhost) | the address of the computer itself | A service on 127.0.0.1 can be reached only from the same computer, not from the network. |
| 95th percentile (p95) | the value below which 95 % of the measurements lie | Used for the response time: 95 of every 100 requests are answered at least this fast. |
| Fidelity | share of records for which the service gives exactly the offline answer | F = matches / records sent (Analysis Plan Eq. 47); the requirement is 100 %. |
| Test bench | the integrated system run over every held-out record | Simulink model, MATLAB dashboard functions and the Python service working together, with every answer and its time written to a log (Step 41). |